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Serving our customers since 1964

www.metcom.org Phone: 301-737-7400

Potable Water Distribution - Wastewater Collection / Treatment FAX: 301-737-7459

APPROVAL TRANSMITTAL
FOR REVISED CONSTRUCTION PLANS

To: Nick Brader, P. E., NJB Engineering, Inc.

From:  St. Mary’s County Metropolitan Commission

CC: Ken Findley, P.E., St. John Properties; LUGM,; File

Date: March 10, 2021

Re: Oak Crest Center Revision to Phase 1 (LUGM #: 19-132-005, 19-133-009)

The above reference project construction plans have been reviewed for general conformance with the St.
Mary’s County Metropolitan Commission’s Standard Specification for Water and Sewer Construction.
The Engineer-of-Record is not relieved from the specific requirements of any applicable codes and
standards. A Pre-Construction Meeting must be scheduled prior to issuance of the Construction Permit
and/or a “Notice to Start Work” order is issued.

All water and sewer construction shall be done in accordance with the St. Mary’s County Metropolitan
Commission Standards and Specifications for Water and Sewerage Construction. Contractor to contact
the Engineering Department, St. Mary’s County Metropolitan Commission, forty-eight (48) hours prior
to start of construction. Phone number: 301-737-7400. Contractor to also contact the Engineering
Department before restarting work after work has stopped for more than five days.

X] APPROVED [ ] APPROVED AS NOTED

e This revised approval is for the revised sewer connection to Lot 5 only; see original Approval
dated August 14, 2020 for other information.

e No building permits that flow to the Modifications of the Oak Crest Interim Sewage Pump
Station will be approved until the Sewage Pump Station modifications and any associated
water and sewer infrastructure are within 90 days of completion.

e One (1) sewer EDU was previously allocated for Parcel 292 and has pre-paid Sewer Capital
Contribution Charges (excess EDU is from the theater EDUs allocated on June 20, 2014 as
part of Oak Crest Center Revised Ph 1 (LUGM No. 14-132-001)). Seven (7) additional sewer
EDUs were allocated for this project against the capacity at the Marlay Taylor Wastewater
Reclamation Facility by the Department of Land Use and Growth Management for a total of
eight (8) EDUs. The seven (7) new sewer EDUs are subject to Capital Contribution Charges.

Lot 3: 3 sewer EDUs
Lot4: 3 sewer EDUs .
Lot5: 2 sewer EDUs Received

8 total sewer EDUs ; P
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e One (1) water EDU was previously allocated for Parcel 292 and has pre-paid Water Capital
Contribution Charges (excess EDU is from the theater EDUs allocated on June 20, 2014 as
part of Oak Crest Center Revised Ph 1 (LUGM No. 14-132-001)). Seven (7) additional sewer
EDUs were allocated for this project against the capacity of the water system by the
Department of Land Use and Growth Management for a total of eight (8) EDUs. The seven
(7) new water EDUs are subject to Capital Contribution Charges.

Lot3: 3 water EDUs
Lot4: 3 water EDUs
Lot 5: 2 water EDUs

8 total water EDUs

e Please note that the EDU calculations were based on one tenant space per building calculated
using the warehouse use. If multiple tenant spaces are planned each tenant space/unit is
requires to have at minimum one EDU. Each unit’s EDUs will be calculate separately based
on use during the permitting process. This may require additional EDUs be allocated.

e A PWA, bonding, and easements will be required for Lot 5 for the off-site utility work.
Please Contact Debbie Settle in our office to begin this paperwork.

e Please contact Chris Soussanin at our office to schedule a pre-construction meeting. A
construction permit/notice to proceed will need to be signed by MetCom in order to proceed
with construction.

e Review and approval of the individual shop drawing submittals required prior to construction.
List of required submittal items will be presented at the pre-construction meeting or can be
requested beforehand through our Construction and Inspection Department if desired.

N L UUL
SIGNATURE: A

M. Christy Hollander, P. E., MetCom Chief Engineer
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Serving our customers since 1964

www.meltcom.org Phone: 301-737-7400

Potable Water Distribution - Wastewater Collection / Treatment FAX: 301-737-7459
APPROVAL TRANSMITTAL
FOR FINAL CONSTRUCTION PLANS
To: Nick Brader, P. E., NJB Engineering, Inc.
From: St Mary’s County Metropolitan Commission
CC: Ken Findley, P.E., St. John Properties; LUGM,; File
Date: August 14,2020
Re: Oak Crest Center Revision to Phase 1 (LUGM #: 19-132-005, 19-133-009)

The above reference project construction plans have been reviewed for general conformance with the St.
Mary’s County Metropolitan Commission’s Standard Specification for Water and Sewer Construction.
The Engineer-of-Record is not relieved from the specific requirements of any applicable codes and
standards. A Pre-Construction Meeting must be scheduled prior to issuance of the Construction Permit
and/or a “Notice to Start Work” order is issued.

All water and sewer construction shall be done in accordance with the St. Mary’s County Metropolitan
Commission Standards and Specifications for Water and Sewerage Construction. Contractor to contact
the Engineering Department, St. Mary’s County Metropolitan Commission, forty-eight (48) hours prior
to start of construction. Phone number: 301-737-7400. Contractor to also contact the Engineering
Department before restarting work after work has stopped for more than five days.

X] APPROVED [ ] APPROVED AS NOTED

e No building permits that flow to the Modifications of the Oak Crest Interim Sewage Pump
Station will be approved until the Sewage Pump Station modifications and any associated
water and sewer infrastructure are within 90 days of completion.

e One (1) sewer EDU is allocated for Parcel 292 and has pre-paid Sewer Capital Contribution
Charges (excess EDU is from the theater EDUs allocated on June 20, 2014 as part of Oak
Crest Center Revised Ph 1 (LUGM No. 14-132-001)). Seven (7) additional sewer EDUs are
required to be allocated for this project against the capacity at the Marlay Taylor Wastewater
Reclamation Facility by the Department of Land Use and Growth Management for a total of
eight (8) EDUs. The seven (7) new sewer EDUs are subject to Capital Contribution Charges.

Lot 3: 3 sewer EDUs
Lot 4: 3 sewer EDUs
Lot 5: 2 sewer EDUs
8 total sewer EDUs
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e One (1) water EDU is allocated for Parcel 292 and has pre-paid Water Capital Contribution
Charges (excess EDU is from the theater EDUs allocated on June 20, 2014 as part of Oak
Crest Center Revised Ph 1 (LUGM No. 14-132-001)). Seven (7) additional sewer EDUs are
required to be allocated for this project against the capacity of the water system by the
Department of Land Use and Growth Management for a total of eight (8) EDUs. The seven
(7) new water EDUs are subject to Capital Contribution Charges.

Lot3: 3 water EDUs
Lot4: 3 water EDUs
Lot5: 2 water EDUs
8 total water EDUs

e Please note that the EDU calculations were based on one tenant space per building calculated
using the warehouse use. If multiple tenant spaces are planned each tenant space/unit is
requires to have at minimum one EDU. Each unit’s EDUs will be calculate separately based
on use during the permitting process. This may require additional EDUs be allocated.

e A PWA, bonding, and easements will be required for this project for the off-site utility work.
Please Contact Debbie Settle in our office to begin this paperwork.

e Please contact Chris Soussanin at our office to schedule a pre-construction meeting. A
construction permit/notice to proceed will need to be signed by MetCom in order to proceed
with construction.

e Review and approval of the individual shop drawing submittals required prior to construction.

List of required submittal items will be presented at the pre-construction meeting or can be
requested beforehand through our Construction and Inspection Department if desired.
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M. Christy Hollander, P. E., MetCom Chief Engineer
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